## 2019-20
ANNEXURE-XI
REVISED ASSETS CAPITALIZATION SCHEDULE FOR FY 2019-20
Cost Estimate (In Crores)
S.No. | Particulars | Freehold Land | Lease hold Land | Building & Other Civil works | Transmission line | Sub-Station equipments | PLCC | TOTAL
1 | 2x160MVA Transformer at Gopalpur |  |  |  |  | 18.81 |  | 18.81
2 | 220/66KV at Budella |  |  |  |  | 86.6 |  | 86.6
3 | 220/66 KV GIS at SGTN |  |  |  |  | 85 |  | 85
4 | 220KV Double circuit Dwarka to Budella underground cable |  |  |  | 94.09 |  |  | 94.09
5 | 1 no. 220KV Bay at Masjid Moth |  |  |  |  | 2.53 |  | 2.53
6 | Total civil work |  |  | 7 |  |  |  | 7
7 | Land Cost |  | 20 |  |  |  |  | 20
8 | 220kV GIS at Dwarka |  |  |  |  | 77 |  | 77
9 | Single circuit U/G cable (Lodhi Road-Park Street-Electric Lane-Lodhi Road) |  |  |  | 80 |  |  | 80
10 | Double circuit overhead from Shalimarbagh to SGTN |  |  |  | 13.44 |  |  | 13.44
11 | Installation of new 220/66 kV, 160 MVA ICT at Kanjhawla |  |  |  |  | 9.28 |  | 9.28
12 | 2 nos. 100 MVA ICT to 160 MVA ICT capacity augmentation at Najafgarh |  |  |  |  | 18.57 |  | 18.57
13 | Replacement of 0 no. 100 MVA Pr. Tr. with 160 MVA Pr. Tr. along with bay equipments at Sarita vihar. |  |  |  |  | 10.98 |  | 10.98
14 | HTLS conductoring (with polymer insulator) of 220kV D/C Bawana -Rohini |  |  |  | 17.78 |  |  | 17.78
15 | HTLS conductoring (with polymer insulator) of 220kV D/C Maharanibagh-Lodhi Road |  |  |  | 9.94 |  |  | 9.94
16 | HTLS conductoring (with polymer insulator) of 220kV D/C Sarita -Vihar-BTPS |  |  |  | 5.74 |  |  | 5.74
S.No. | Particulars | Freehold Land | Lease hold Land | Building & Other Civil works | Transmission line | Sub-Station equipments | PLCC | TOTAL
17 | Augmentation of 100MVA to 160 MVA Pr. Tr. at Narela |  |  |  | 10.29 |  |  | 10.29
18 | HTLS conductoring (with polymer insulator) of Bamnauli-Mehrauli-BTPS |  |  |  | 46.62 |  |  | 11.65
19 | Isolator, CT, PT/CVT and CB replacement under PSDF scheme |  |  |  |  | 44.12 |  | 44.12
20 | Strengthening of Narrow base B-Type Towers (Tension) |  |  |  |  | 1.6 |  | 1.6
21 | HTLS conductoring of Gopalpur-Mandola |  |  |  | 32.89 |  |  | 32.89
22 | Hot reserve of 220/33KV, 100 MVA Pr.Tr. At Okhla |  |  |  | 9.06 |  |  | 9.06
23 | Hot reserve of 220/66KV, 100 MVA Pr.Tr. At PPK-I |  |  |  | 8.68 |  |  | 8.68
24 | Hot reserve of 220/66KV, 160 MVA Pr.Tr. At Mundka |  |  |  | 10.61 |  |  | 10.61
25 | 2 no. 66 kV bays addition at Gazipur |  |  |  | 1.94 |  |  | 1.94
26 | 01 no. 100 MVA ICT to 160 MVA ICT capacity augmentation at Okhla |  |  |  | 10.58 |  |  | 10.58
|  | Total Asset Capitalization Projected for FY 2019-20 | [5 empty] | 698.18