## Form F4
Name of Company: |  | Delhi Transco Limited | [6 empty] | F 4
Name of the Project:
Name of the Transmission Element:
S No. | Name of the project of the TRANSMISSION LINE & Associated Substations | Line length (Ckt. Kms & Sub/stn. MVA) | Capital Cost as admitted by DERC (Crore) | Capital cost admitted as on | Name of the executing authority | Foreign Component, if any (In Million US $ or the relevant Currency) | Domestic Component | Foreign Exchange rate considered for the admitted Capital cost | Hedging cost, if any, considered for the admitted Capital cost | Total Capital cost admitted (Crore)
1 | Replacement of 2x315 MVA ICTs with 2x500MVA at Bamnauli | 2x500 MVA | 33** |  | PGCIL * | …. | 33 | …. | …. | 33
2 | 3rd 220/66 KV , 100MVA Tr. At Sarita Vihar | 1x100 MVA | 8 |  | DTL | …. | 8 | …. | …. | 8
3 | S/C LILO Bamnauli-Naraina line at Pappankalan-I | 0.5 KM | 1.11 |  | DTL | …. | 1.11 | …. | …. | 1.11
4 | HTLS re-conductoring of D/C of Bamnauli-Naraina transmission Line | 2x17 KM | 33 |  | PGCIL * | …. | 33 | …. | …. | 33
5 | HTLS re-conductoring of D/C of Geeta Colony-Wazirabad transmission Line | 2x6.5 KM | 9** |  | PGCIL * | …. | 9 | …. | …. | 9
6 | 1x160 MVA Tr. And 2x66 KV feeder bays alongwith associated equipments at 220 KV DSIDC Bawana S/Stn | 1x160 MVA | 12.89 |  | DTL | …. | 12.89 | …. | …. | 12.89
7 | 1x160 MVA Tr. And 2x66 KV feeder bays alongwith associated equipments at 220 KV Pappankalan-II S/Stn | 1x160 MVA | 12.48 |  | DTL | …. | 12.48 | …. | …. | 12.48
8 | 1x160 MVA Tr. And 2x66 KV feeder bays alongwith associated equipments at 220 KV Kanjhawla S/Stn | 1x160 MVA | 13.54 |  | DTL | …. | 13.54 | …. | …. | 13.54
9 | LILO of 1st circuit of D/C Pragati-Sarita Vihar at Maharani Bagh S/Stn | 0.5 KM | 6.7 |  | DTL | …. | 6.7 | …. | …. | 6.7
10 | 1x100 MVA Tr. And 2x220 KV Bays alogwith associated equipments at Maszid Moth S/Stn | 1x100 MVA | 7.89 |  | DTL | …. | 7.89 | …. | …. | 7.89
11 | Augumentation of existing 2x100 MVA Power transformers with 2x160 MVA Transformers at 220 KV S/Stn Pappankalan-I | 2x160 MVA | 16 |  | DTL | …. | 16 | …. | …. | 16
12 | 220KV D/C Harsh Vihar- Patparganj U/G | 15 KM | 234** |  | PGCIL * | …. | 234 | …. | …. | 234
13 | Polymer insulators for for 220 KV Lines |  | 5 |  | DTL | …. | 5 | …. | …. | 5
14 | Establishment of 220/33 KV GIS at Rajghat | 3x100 MVA | 56 |  | PGCIL * | …. | 56 | …. | …. | 56
15 | Establishment of 220/66 KV AIS at Pappankalan-III | 2x160 MVA | 75 |  | PGCIL * | …. | 75 | …. | …. | 75
16 | Establishment of 220/33 KV GIS at Preet Vihar | 3x100 MVA | 116 |  | PGCIL * | …. | 116 | …. | …. | 116
17 | LILO of D/C Bamnauli- Naraina Line at PPK-III | 2x 0.5 km | 2 |  | PGCIL * | …. | 2 | …. | …. | 2
18 | 220 KV D/C Vasantkunj-R.K.Puram U/G cable link | 2x 5.5 KM | 73 |  | DMRC | …. | 73 | …. | …. | 73
19 | 220 KV S/C Patparganj-Gzipur U/G cable link | 2 x 5 KM | 13 |  | DMRC |  | 13 |  |  | 13
20 | 4x66 KV Bays at Kanjhawala S/Stn |  | 3.14 |  | DTL | …. | 3.14 | … | … | 3.14
21 | 4x66 KV Bays at Sarita Vihar S/Stn | …. | 3.78 |  | DTL | …. | 3.78 | …. | …. | 3.78
22 | 5x66 KV bays at Mehrauli S/stn | …. | 5.44 |  | DTL | …. | 5.44 | …. | …. | 5.44
23 | 2x220 KV bays at Shalimar Bagh S/Stn | …. | 3.98 |  | DTL | …. | 3.98 | …. | …. | 3.98
24 | 2x66 Kva bays at Gazipur S/Stn | …. | 1.6 |  | DTL | …. | 1.6 | …. | …. | 1.6
25 | 2x220 KV bays at Vasant Kunj S/Stn | …. | 3.84 |  | DTL | …. | 3.84 | …. | …. | 3.84
26 | Shfting of transformer work at Narela and Mehrauli | … | 1 |  | DTL | …. | 1 | …. | …. | 1
27 | 220kV D/C Kashmiri Gate – Raj Ghat O/H line | 2x 4.0 KM | 25 |  | PGCIL * | …. | 25 | …. | …. | 25
28 | Various Civil Works | … | 11.5 |  | DTL | …. | 11.5 | …. | … | 11.5
29 | O&M /Protection Schemes | …. | 34.2 |  | DTL | …. | 34.2 | …. | …. | 34.2
30 | O&M Replacement Schemes |  | 7.9 |  | DTL |  | 7.9 |  |  | 7.9
31 | Miscllaneous i.e. Procurement of vehicles, Laptops & Computers | … | 4.5 |  | DTL | …. | 4.5 | …. | … | 4.5
[6 empty] | TOTAL |  |  |  | 833.49
[6 empty] | Grant From MOP, GoI (**) |  |  |  | 200
[6 empty] | Grant Total to be capitalised by 2015-16 |  |  |  | 633.49
Note: 1. The scheme cost of DTL planned works has been taken as per approved cost estimate of the scheme. 2. The Civil works cost, O&M schemes cost and Procurement of vehicles, Laptops & Computers cost has been provided by the concenrened department. 3. The (*) mentioned work are to be carried out by PGCIL on behalf of DTL as deposit work, for which MOU has been signed with PGCIL. The scheme cost has been considered by applying IDC (10%) & consultancy charges (10% + Servic tax) on the NIT cost prepared by PGCIL. 4. The (**) works are covered under grant by MOP, GOI of 200 crore.
spill over works
|  |  | 1 | peeragarhi- waziprpur |  | 141 | crore
|  |  | 2 | 220 kv GIS Lodhi Road |  | 36 | crore
|  |  | 3 | 66 kv bays at Gzp |  | 1.4 | crore
|  | plg | spill over | total
| s/stn | 415.68 | 37.4 | 453.08
| lines | 401.81 | 141 | 542.81
| civil | 11.5 |  | 11.5
| misc | 4.5 |  | 4.5
| total |  |  | 1011.89