## Sheet1
DELHI TRANSCO LIMITED
SUBJECT:- DETAILS OF CAPITAL EXPENDITURE EXPECTED TO BE INCURRED IN THE FY 2015-16 IN DGM(O&M)-III CIRCLE
S.No. | DETAILS OF WORKS | EXPECTED COST
1 | REPLACEMENT OF 2 NOS. 220/66KV 100MVA POWER TRANSFORMERS AT 220KV SUB-STATION PATPARGANJ | 88200000
2 | REPLACEMENT OF 66KV,20MVAR & 33KV,10MVAR CAPACITOR BANKS AT 220KV SUB-STATION PATPARGANJ | 4801000
3 | REPLACEMENT OF 1 NO. 220/33KV 100MVA POWER TRANSFORMERS AT 220KV SUB-STATION INDRAPRASTHA | 44100000
4 | REPLACEMENT OF 30NOS. 66KV LA AT 220KV SUB-STATION VASANT KUNJ | 350000
5 | SHIFTING OF CONTROL ROOM AT 220KV SUB-STATION INDRAPRASTHA | 18200000
6 | SHIFTING OF 220KV BUS-BAR AT 220KV SUB-STATION INDRAPRASTHA | 3500000
| TOTAL COST | 159151000