## GOPALPUR
DELHI TRANSCO LIMITED
Capitalization work executed at 220 kV S/stn. Gopalpur in FY 2015-16
S.No. | Division | Scheme |  | Item name | Item Unique Code No. | Function Location | Material Cost | Labour & Transportation | Road Restoration Charges | A&G Expenses Capitalised | Employee Expenses Capitalised | Interest during Construction | Less Liquidated Damages (LD) | Amount Capitalised | Date of Electrical Inspector Clearance | Date of COD | Remarks
|  | Scheme no. | Description of scheme
1 | O&M N-4 | 700001610 | Replacement of 01 no. of outlived battery charger | Battery charger | 300105013 | 220 V Battery charger | 220563 | - | - | - | - | - | - | 220563 | - | 15.06.15
2 | O&M N-4 | 700001602 | Replacement of 03 nos. of Outlived LA | 220 kV LA | 200301001 | 100 MVA Transformer-I | 122947.44 | - | - | - | - | - | - | 122947.44 | - | 23.08.15
3 | O&M N-4 | 700001603 | Replacement of 01 no. Outlived LA | 220 kV LA | 200301001 | 220 kV Mandola-II | 40982.48 | - | - | - | - | - | - | 40982.48 | - | 25.08.15
4 | O&M N-4 | 700001604 | Replacement of 03 nos. of Outlived LA | 220 kV LA | 200301001 | 100 MVA Transformer-II | 122947.44 | - | - | - | - | - | - | 122947.44 | - | 27.08.15
5 | O&M N-4 | 700001605 | Replacement of 03 nos.of Outlived LA | 220 kV LA | 200301001 | 100 MVA Transformer-III | 122947.44 | - | - | - | - | - | - | 122947.44 | - | 04.09.15
6 | O&M N-4 | 700001606 | Replacement of Outlived 03 nos of CVT | 220 kV CVT | 144201004 | 220 kV Bus-II | 524387.58 | - | - | - | - | - | - | 524387.58 | - | 19.08.15
7 | O&M N-4 | 700001607 | Replacement of 03 nos. of Outlived CVT | 220 kV CVT | 144201004 | 220 kV SOW-I | 524387.58 | - | - | - | - | - | - | 524387.58 | - | 12.09.15
8 | O&M N-4 | 700001608 | Replacement of 01 no. of Outlived CVT | 220 kV CVT | 144201004 | 220 kV SOW-II | 174795.86 | - | - | - | - | - | - | 174795.86 | - | 12.09.15
9 | O&M N-4 | 700001609 | Replacement of 02 no. of Outlived CVT | 220 kV CVT | 144201004 | 220 kV Mandola-II | 349591.72 | - | - | - | - | - | - | 349591.72 | - | 19.09.15
10 | O&M N-4 | 700001611 | Replacement of CT due high tan delta | 220 kV CT | 120319003 | 100 MVA Transformer-III | 346049.67 | - | - | - | - | - | - | 346049.67 | - | 04.09.15
11 | O&M N-4 | 700001642 | Replacement of 01 no. Outlived MOCB | 33 kV CB | 160701020 | 33 kV Indira vihar Ckt.-I | 426569.45 | - | - | - | - | - | - | 426569.45 | - | 10.02.16
12 | O&M N-4 | 700001643 | Replacement of 01 no. Outlived MOCB | 33 kV CB | 160701020 | 33 kV Model town Ckt-II | 426569.45 | - | - | - | - | - | - | 426569.45 | - | 16.02.16
13 | O&M N-4 | 700001614 | Replacement of outlived battery bank 180AH | Battery Bank | 300103001 | 220 V Battery Bank | 342449.02 | - | - | - | - | - | - | 342449.02 | - | 13.02.15

## SUBZI MANDI
DELHI TRANSCO LIMITED
Format for Capitalization | [15 empty] | Annexure-II
S.No. | Division | Scheme |  | Item name | Item Unique Code No. | Function Location | Material Cost | Labour & Transportation | Road Restoration Charges | A&G Expenses Capitalised | Employee Expenses Capitalised | Interest during Construction | Less Liquidated Damages (LD) | Amount Capitalised | Date of Electrical Inspector Clearance | Date of COD | Remarks
|  | Scheme no. | Description of scheme
1 | O&M N-4 | 700000340 | Replacement of 8 no. 11 kV Panels at 220 kV Subzi Mandi | VCB panel 11 kV | 440109011 | 11 kV Bus 1 | Rs. 2092973 | Rs. 234270 | NIL | NIL | NIL | NIL | NIL | Rs. 2327243 | NA | 25.12.2013
2 | O&M N-4 | 700001612 | Replacement of 220 V Battery bank at 220 kV Subzi Mandi | Battery 220 V, 180 AH | 300103001 | 220 V battery bank | Rs. 342449 | NIL | NIL | NIL | NIL | NIL | NIL | Rs. 342449 | NA | 10.2.2015
3 | O&M N-4 | 700001613 | Replacement of 220 V battery charger at 220 kV Subzi Mandi | Battery charger 220 V, 180 AH | 300105013 | 220 V battery charger | Rs. 220563 | NIL | NIL | NIL | NIL | NIL | NIL | Rs. 220563 | NA | 13.7.2015