Division:- O&M-W5  & Name Of Substation:- Mehrauli

Name of Scheme:- CA220-14/036-01

Description of Scheme:- Replacement of Outlived equipments at Mehrauli.

| Item name | Item code/ unique code no. (DM07) | Functional location | Amount captalized | Material cost | Labour & Transportation | Road restoration charge | Interrest during construction | Liquidated damages | A&G Expense | Date of electrical inspector clearance | Date of COD | Remarks |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Replacement of 245KV ABCB Breaker with SF6 breakers | 700000103 | BTPS-I | 1333868.40 | 1333868.40 |  |  |  | NIL |  |  | 04.02.12 |  |
|  | 700000406 | BTPS-I | 9152.64 | 9152.64 |  |  |  |  |  |  | 04.02.12 |  |
|  | 700000180 | 100MVA-II | 4001605.20 | 4001605.20 |  |  |  |  |  |  | 05.11.11 |  |
|  | 700000201 | 100MVA-I | 33090.00 |  | 33090.00 |  |  |  |  |  | 29.04.11 |  |
|  | 700000600 | 100MVA-I | 8400.00 |  | 8400.00 |  |  |  |  |  | 29.04.11 |  |
| Replacement 66KV CB | 700000860 | 66KV PALAM | 390480.82 | 390480.82 |  |  |  | NIL |  |  | 07.01.13 |  |
| Reinstallation of 20MVA 66KV CAP BANK | 700000922 | 66KV Yard | 156613.14 | 156613.14 |  |  |  | NIL |  |  | 12.02.13 |  |
| Replacement of 66KV CT | 700001041 | V KUNJ D2 | 50232.16 | 50232.16 |  |  |  | NIL |  |  | 26.05.13 |  |
| Replacement of 66KV PT | 700001310 | 66KV BAYS | 132225.02 | 132225.02 |  |  |  | NIL |  |  | 03.04.14 |  |
| Strenghthing of Earth Mesh | 700001321 | YARD SUBSTATION | 800300.47 |  | 800300.47 |  |  | NIL |  |  | 02.05.14 |  |
| Replacement of 66kv CVT | 700001445 | 66KV YARD | 1018052.80 | 1018052.80 |  |  |  | NIL |  |  | 09.02.15 |  |
| Replacement of220KV CVT | 700001563 | 220KV BAY | 2466108.75 | 2466108.75 |  |  |  | NIL |  |  | 17.05.15 |  |
| Replacement of 220KV CT | 700001446 | BUS COUPLER | 413021.60 | 413021.60 |  |  |  | NIL |  |  | 08.02.14 |  |
| Replacement of 220KV CT | 700001564 | 220KV BAY | 2478129.60 | 2478129.60 |  |  |  | NIL |  |  | 14.02.15 |  |